**NO. 173 OF 2011**

**NOTICE IN TERMS SECTION 14(2)(a)(i) OF THE LOCAL GOVERNMENT: MUNICIPAL SYSTEM ACT, 2000: MAFUBE LOCAL MUNICIPALITY STANDARD BUILDING REGULATIONS BY-LAW**

I, M.G Qabathe, Member of the Executive Council responsible for Cooperative Governance, Traditional Affairs and Human Settlement in the Free

State Province, after consulting the Minister of Cooperative Governance and Traditional Affairs and the South African Local Government

Association: Free State, do hereby in terms of section 14(2)(a)(i) of the Local Government: Municipal Systems Act, 2000 (Act No. 32 of 2000),

make standard by-laws as set out in the Schedule.

**SCHEDULE**

**BUILDING REGULATIONS AND BUILDING STANDARD BY-LAW.**

**Table of Contents**

1. Definitions

2. Scope of By-Laws

3. Cat-heads, cranes and platforms

4. Slab footways or pavement

5. Planting on footways and sidewalks

6. Street gutter bridged

7. Encroachments

8. Restriction on the erection of buildings within the one-in-fifty-year flood line

9. Minimum erf size

10. Restriction of additional buildings

11. Relay of storm water from a high-lying erf to a lower lying erf

12. Enclosures

13. Height restrictions

14. Design and appearance

15. Roofs

16. Connection to sewer

17. Disconnection of Drainage Installations and Conservancy or Septic Tanks

18. Drainage Work which does not comply with the Requirements

19. Maintenance

20. Drainage and Sewer Blockages

21. Interference with or Damage to Sewers and Water Care Works

22. Entry onto Premises

23. Manholes on Municipal Property

24. Mechanical Food-Waste or other Disposal Units

25. Sewage or other Pollutants not to enter Storm water drains

26. Storm water not to enter Sewers

27. Discharge from Swimming Pools

28. Permission to Discharge Industrial Effluent

29. Control of Industrial Effluent

30. Metering and Assessment of the Volume and Composition of Industrial Effluent

31. Prohibited Discharges

32. Connection from mains

33. Valves in Communication Pipes

34. Additions to System

35. Extension of System to other premises

36. Inspection and approval of Fire Extinguishing Service

37. Connection to be at pleasure of the Council

38. Installation of Reflux Valve

39. Sprinkler system

40. Header tank or duplicate supply from mains

41. Notices

42. Penalty Clause

43. Repeal Of By - Laws

44. Short Title

**PROVINCIAL GAZETTE / PROVINSIALE KOERANT, 09 DECEMBER 2011 / 09 DESEMBER 2011**

**52**

**Definitions**

1 In these by-laws, words used in the masculine gender include the feminine, the singular includes the plural and vice versa and, except

where otherwise provided, all words and phrases have the same meanings as those contained in the National Building Regulations and

Building Standards Act, 1977 (Act No. 103 of 1977), the National Building Regulations promulgated thereunder and the User's Code for

the application of the National Building Regulations, SABS 0400/1990.

**"adequate" or "effective"** means adequate or effective in the opinion of the Council;

**"approved"** means approved by the Council, regard being had, in all cases, to all the circumstances of the particular case and to

accepted principles of drainage installation and, in the case of any appliance, fitting or other object, to the purpose which it is intended to

serve;

**"anti-siphonage pipe"** means any pipe or portion of a pipe provided for the protection by ventilation of the water seal or trap against

unsealing by siphonage or backpressure;

**"cleaning eye"** means any access opening to the interior of a discharge pipe or trap provided for the purposes of internal draining and

which remains permanently accessible after completion of the drainage installation;

**"communication pipe"** any pipe leading from a main to the premises of any consumer as far as the street boundary of such premises

situated nearest to such main, or, in cases where the meter is installed inside the premises of any consumer in terms of this part of these

by-laws, as far as the inlet of the meter;

**"connecting sewer"** means that part of a sewerage system which is vested in the Council and by means of which a drain is connected

to the Council's sewer;

**"connection"** means the point where a drain is connected to the connecting sewer;

**"conservancy tank"** means a tank which is used for the retention and temporary retention of the discharge from a drainage installation

and which is emptied at intervals determined by the Council;

**"consumer"** means the occupier of any premises with whom or which the Council has contracted to supply water or the owner or any

person who has entered into a contract with the Council for the supply of water or who is lawfully obtaining water from the Council;

**"Council"** means the Council of the Municipality of ……………. and/or any duly authorized committee or official of the said Municipality;

**"drain"** means that portion of a drainage installation other than soil-water pipes, waste-water pipes, ventilation pipes and anti-siphonage

pipes, which is vested in the owner of the premises and which has been laid in the ground and is used or intended to be used for

conveying sewage to the connecting sewer or to a common drain or a conservancy tank or septic tank which is situated on the premises;

**"drainage installation"** means an installation vested in the owner of the premises and includes any drain, soil-water pipe, stack,

waste-water pipe, ventilation pipe, anti-siphonage pipe, soil-water fitting, waste-water fitting, mechanical appliance or any other

appliance or fitting or combination thereof for the collection and conveyance of sewage;

**"drainage work"** means the construction or reconstruction of or any alteration or addition to,

or any work done in connection with a drainage installation but must not include any work

undertaken solely for purposes or repair or maintenance;

**"gully"** means a pipe fitting incorporating a trap into which waste water is discharged;

**"industrial effluent"** means any liquid, whether or not containing matter in solution or suspension, which is emitted in the course of or

as a result of any trade or industrial operation, including any mining operation, and includes any liquid besides soil-water, waste-water or

storm-water,

**"main"** means any pipe, aqueduct or other work under the exclusive control of the Council

and used by it for the purpose of conveying water to consumers, but does not include any

communication pipe, as herein defined.

**"Municipal Manager"** means the person appointed as Municipal Manager by the municipal council in terms of section 82 of the Local

Government: Municipal Structures Act, 1998 (Act 117 of 1998) as amended and includes a person acting in this position.

**"owner"** in relation to immovable property means the person in whom the legal title is vested and includes:

(a) a person receiving the rent or profits of any land or property from any tenant or occupier thereof, or who would receive such

rent or profits if such land or property were leased, whether for his/her own account or as agent for any person entitled thereto;

(b) in case where the person in whom the legal title to premises is vested is insolvent or dead, or is under any form of legal

disability whatsoever, the person in whom the administration and control of such premises is vested as curator, trustee,

executor, administrator, judicial manager, liquidator or other legal representative;

(c) in relation to -

(i) a piece of land delineated on a sectional plan registered in terms of the Sectional Titles Act, 1986 (Act No. 95 of

1986), the developer or the body corporate in respect of the common property, or

(ii) a section as defined in such Act, the person in whose name such section is registered under a sectional title deed,

and includes the lawfully appointed agent of such a person;

**"premises"** means any piece of land, the external surface boundaries of which are delineated on –

(a) a general plan or diagram registered in term of the Land Survey Act, 1927 (Act No. 9 of 1927) or in terms of the Deeds

Registries Act, 1937 (Act No. 47 of 1937), or

(b) a sectional plan registered in term of the Sectional Titles Act, 1986 (Act No. 95 of 1986),

**"purified effluent"** means the water discharged from a water care works after purification, either into a water course or for purposes of

re-use;

**PROVINCIAL GAZETTE / PROVINSIALE KOERANT, 09 DECEMBER 2011 / 09 DESEMBER 2011**

**53**

**"sanitary fitting"** or "sanitary appliance" means any soil-water fitting and any waste-water fitting;

**"septic tank"** means any tank designed to receive sewage and to effect the adequate decomposition of organic matter in sewage by

bacterial action;

**"sewage"** means soil-water, waste-water or industrial effluent whether separately or together;

**"sewer"** means any pipe with fittings, vested in the Council and used or designed or intended for use for or in connection with the

conveyance of sewage;

**"soil-water"** means any liquid containing human or animal excreta;

**"soil-water fitting"** means any fitting used for the reception and discharge of soil-water;

**"soil-water pipe"** means any pipe, other than a drain, used for the conveyance of soil-water with or without waste-water;

**"stack"** means the main vertical component of a drainage installation or any part thereof other than a ventilation pipe;

**"storm water"** means any liquid resulting from natural precipitation or accumulation and includes rain-water, spring-water and groundwater;

**"tariff** means the tariff of charge regarding the Council's sewerage services, as determined by the Council from time to time in terms of

Section 75A of the Local Government: Municipal Systems Act, 2000 (Act No. 32 of 2000) or any other applicable law;

**"trap"** means a pipe fitting or portion of a sanitary appliance designed to retain a water seal in position;

**'Ventilation pipe"** means any pipe or portion of a pipe not conveying any liquid and used to ventilate a drainage installation in order to

prevent the destruction of water seals and which leads to the open air at its highest point;

**"waste-water"** means used water that has not been polluted by soil-water or industrial effluent, and does not include storm water,

**"waste-water fitting"** means any fitting used for the reception and discharge of waste-water; **"waste-water pipe"** means any pipe,

other than a drain, used for the conveyance of water-waste only;

**"water care works"** means any water works for the purification treatment or disposal of effluent;

**"water seal"** means the water in a trap, which serves as a barrier against the flow of foul air or gas;

**Scope of By-Laws**

**2.** These by-laws applies to every building, sewerage installation and/or water installation, and,

regarding sewerage and water installations in particular, to the operation and maintenance of

any such installation in any new building or existing building with or without any alteration or

addition to such an existing installation, whether or not required by the Council to be made or

altered in terms of the National Building Regulations or these bylaws.

**Cat-heads, cranes and platforms**

**3.** Cat-heads, lifting cranes, platforms and other such contrivances must not overhang any street or sidewalk without the prior written

consent of the Council.

**Slab footways or pavement**

**4.** (1) The owner or occupier of an erf adjoining a street, may lay or fix slab footways or pavements on any street sidewalk or footway.

(2) Paving or slabs must be laid to the grade, line and cross-fall pointed out by the Council and must conform to the following

further requirements:

(a) For ordinary paving or slabs, the minimum cross-fell must be 1:100 and the maximum cross-fall 1:25.

(b) Non-skid paving or slabs of a type to be approved by the Council must be used for cross-falls between 1:25 and 1:15:

provided that the maximum cross-fall must not exceed 1:15.

(c) Longitudinal grades must not be steeper than 1:25 for ordinary paving. Slabs and non-skid paving or slabs may be

used for longitudinal grades between 1:25 and 1:15: provided that the maximum longitudinal grade must not exceed

1:15.

(3) When carriage openings are formed in kerbs and cross footways or pavements, such openings must be paved or slabbed.

(4) The Council may, for purposes of this section, impose such conditions as it may deem necessary in the interests of public

safety, the preservation of municipal property and for any such purpose necessitating the imposition of such conditions.

**Planting on footways and sidewalks**

**5.** (1) The owner or occupier of an erf adjoining a street may, at his or her own cost, grade and plant with grass any land lying

between the erf and that part of the street intended, laid out or made up for the use of vehicular traffic.

(2) The owner or occupier of an erf aforesaid may plant flowers or small shrubs in a strip of land not exceeding 1 meter in width

immediately adjoining the said erf.

(3) The Council may impose such conditions as it deems necessary, regard being had to public safety, the preservation of

municipal property and for any such purpose necessitating the imposition of such conditions.

**Street gutter bridged**

**6.** No person must bridge over or enclose any gutter or storm water drain under the control of the Council without the prior written consent

of the Council.

**PROVINCIAL GAZETTE / PROVINSIALE KOERANT, 09 DECEMBER 2011 / 09 DESEMBER 2011**

**54**

**Encroachments**

**7. (1)** A cantilevered overhanging roof may be erected over the street boundary or building line, at a height of at least 2,75m above

the finished ground level, measured from the finished ground level to the lowest point of the overhanging roof.

(2) Foundations that are at least 0,75m under the ground level may exceed a street boundary or building l ine with a maximum of

0,5m.

(3) Sunshades and overhead lamps may exceed a street boundary or building line: provided that there is a head clearance of at

least 2, lm, measured from the finished ground level to the lowest point of such sunshades or overhead lamps.

(4) Eaves projections may exceed the street boundary or building line.

**Restriction on the erection of buildings within the one-in-fifty-year flood line**

**8.** (1) No building must without the prior permission of the Council be erected so that it is, at its nearest point, nearer to the centre of

any natural watercourse than a line, as may be determined by the Council, indicating the maximum level likely to be reached

on an average every fifty years by flood water in the said watercourse.

(2) For the purpose of this section, a natural watercourse means a topographic land depression which collects and conveys

surface storm water in a definite direction, and includes any clearly defined natural channel, which conveys water in a definite

course along a bed between visible banks, whether or not its conformation has been changed by artificial means and whether

or not such channel is dry during any period of the year, and includes any river, spruit, and stream.

**Minimum erf size**

**9.** Subject to the town planning scheme of the Municipality and any other legislation, all erven within the jurisdiction of the Municipality must

be at least 400 m2 in size.

**Restriction of additional buildings**

**10.** (1) No person may erect a building additional to a building already approved by the Municipality; Provided that the Municipality

may grant approval for such building subject to the applicable legislation.

(2) If no prior approval for such building was obtained, the owner of the erf must within 14 days after receipt of a notice issued in

accordance with section 41, demolish the building.

(3) Should the owner fail to demolish the building within the time period, referred in subsection (2), the Municipality may demolish

the building and the owner will be liable for the reasonable cost associated with such demolition.

**Relay of storm water from a high lying erf to a lower lying erf**

**11.** If, in the opinion of the Council, it is impracticable for storm water to be drained from any high-lying erf direct to a public street, the owner

of any low lying erf is obliged to accept and permit the passage of such storm water and the owner of such high-lying erf, the storm

water from which is discharged over the low-lying erf, is liable for a proportionate share of the cost of any pipe-line or drain which the

owner of such low-lying erf may find necessary to construct for the purpose of conducting water so discharged.

**Enclosures**

**12.** Where any erf is enclosed in whichever manner, such enclosure must be designed, erected and maintained according to sections 13, 14

and 15.

**Height restrictions**

**13.** (1) No enclosure except those on Industrial and Business zoned erven irrespective of the type of material used, may exceed a

height of 2.lm.

(2) Apart from the provisions of subparagraph (1) hereof, barbed wire or similar wire and safety spikes may be erected only from a

height of 1.75m.

**Design and appearance**

**14.** (1) An enclosure which is visible from an adjacent street or public open space must comply with the following conditions -

(a) All surfaces which are visible from such street or public open space must -

(i) be skillfully finished;

(ii) be of good quality material;

(iii) be without defect; and

(iv) have an exposed or finished side;

(b) painted surfaces visible from such street or public open spaces, must be white only or a different colour as approved

by the Council.

(c) If such enclosure is made of precast material and is visible from such street or public open space, it must only have a

brick pattern and be painted white or a different finish or colour as approved by the Council.

(d) If wood forms part of such enclosure, it is thoroughly treated with a wood-preserving agent.

**PROVINCIAL GAZETTE / PROVINSIALE KOERANT, 09 DECEMBER 2011 / 09 DESEMBER 2011**

**55**

(2) An enclosure, as provided in sub section (1) which is visible from any adjacent erf, must comply with the following

requirements -

(a) All surfaces fronting on the adjacent erven must be -

(i) skilfully finished;

(ii) of good quality material;

(iii) without defect; and

(iv) maintenance free

(b) if applicable, the struts, posts and columns of such an enclosure must show on the owner's side

(c) If wood forms part of such enclosure, it must be thoroughly treated with a wood-preserving agent.

(3) Notwithstanding the provisions in these By-laws -

(a) the enclosure, as provided in subsection (1), must, within a distance of 4.5m from any street boundaries or public

open space boundaries be splayed or lowered to a height of 1m, if the Council so requires;

(b) no barbed wire or similar wire and safety spikes in any area Industrial -zoned erven excluded may be visible from any

street, public open space or adjacent erf;

(c) the enclosure must be properly maintained to the sole satisfaction of the Council.

(d) the height of any enclosure or wall will be measured from natural ground level.

**Roofs**

**15.** (1) Sheet metal which is used for roofs and is visible from the street or surrounding erven must be properly painted within fifteen

months after construction thereof if the Council so requires.

(2) No roof surface may have a luminous finish.

**Connection to sewer**

**16.** (1) No part of any drainage installation must extend beyond the boundary of the piece of land on which the building or part thereof

served by the drainage installation is erected: provided that, where it considers it necessary or expedient to do so, the Council

may permit the owner to lay a drain at his or her own expense through an adjoining piece of land upon proof of the registration

of an appropriate servitude or of a notarial deed of joint drainage, as the Council may require.

(2) Subject to the provisions of subsection (3), and without prejudice to the provisions of the National Building Regulations

regarding the inspection and testing of drainage installations, the owner of a premises must, 14 days before the drainage

installation on his or her premises will be ready for connection to a connecting sewer, advise the Council of his or her intention

to so connect. As soon as the Council has provided the connecting sewer, he or she must connect the drain to it at his/her own

expense.

(3) Any alternative or additional connection required by the owner must be subject to the approval of the Council and is effected at

the owner's expense.

(4) No person must permit the entry of any substance whatsoever other than clean water for testing purposes into any drainage

installation before the drainage installation has been connected to the sewer.

(5) Save as may be otherwise authorized by the Council in writing, no person other than an official duly authorized to do so, may

lay and connect any connecting sewer to the sewer.

(6) The conveyance of sewage from two or more premises by means of a common drain to a connecting sewer may be authorized

by the Council.

**Disconnection of Drainage Installations and Conservancy or Septic Tanks**

**17.** (1) If an existing conservancy tank or septic tank is no longer required for the storage or treatment of sewage, or if permission for

such use is withdrawn, the owner must cause it to be disconnected and either completely removed or completely filled with

earth or other suitable material: provided that the Council may require such tank to be otherwise dealt with, or may permit it to

be used for some other purpose subject to such conditions as the Council may consider necessary, regard being had to all the

circumstances of the case.

(2) After all the requirements of the National Building Regulations in regard to disconnection have been complied with and on

request by the owner, the Council must issue a certificate to the effect that the disconnection has been completed in terms of

the National Building Regulations and that any sewerage charges raised in respect of the disconnected portion of the drainage

installation must cease to be raised with effect from the first day of the month following the issue of such certificate: provided

that, until such certificate is issued by the Council, any such charges must continue to be raised.

(3) When a drainage installation is disconnected from a sewer, the Council must seal the opening so made and must recover from

the owner the cost of such work in terms of section 14(5).

(4) Any person who. without the permission of the Council, breaks or removes or causes or permits the breakage or removal of

any such seal referred to in subsection (3), is guilty of an offence.

(5) Where a soil-water fitting has during the month been connected to or disconnected from a drainage installation which

discharges into a sewer system, the tariff, excluding the fixed tariff for every erf, stand, premises or other area, with or without

improvements, which, in the opinion of the Council, can be connected to a sewer, must be calculated as if such connection or

disconnection had taken place on the first day of the month following the month in which such connection or disconnection was

effected.

**PROVINCIAL GAZETTE / PROVINSIALE KOERANT, 09 DECEMBER 2011 / 09 DESEMBER 2011**

**56**

**Drainage Work which does not comply with the Requirements**

**18.** (1) Where any drainage installation has been constructed or any drainage work has been carried out which fails in any respect to

comply with any of the provisions of the National Building Regulations or these by-laws, the owner must, on receipt of a written

notice by the Council to do so and notwithstanding the fact that he may have received approval of plans in respect of the said

installation or work in terms of the National Building Regulations or previous by-laws, carry out such repairs, replacements,

maintenance work or alteration to the installation as and within the time which the said notice may specify.

(2) When, in the opinion of the Council, a nuisance exists as a result of the emission of gas from any trap or sanitary fitting or any

other part of a drainage installation, the Council may require the owner, at his or her own expense, to take such action as may

be necessary to prevent the recurrence of the said nuisance.

(3) Where any sewage, after being discharged into a drainage installation, enters or overflows any soil-water fitting or waste-water

fitting connected to the same drainage installation and leaks from the drainage installation whether by reason of surcharge,

back pressure or any other circumstance, the Council may, by notice in writing, require the owner to carry out, within the period

specified by such notice, any work necessary to abate such entry, overflow or leakage of sewage and to prevent any

recurrence thereof.

(4) The Council may, instead of serving notice as aforesaid or where such notice has not been complied with within the time

prescribed therein, without prejudice to its right to also prosecute the person or body to whom the notice was directed, because

of an infringement of the National Building Regulations or these by-laws, proceed itself to carry out any such alteration, removal

or other work as it may deem necessary for compliance with the provisions of the National Building Regulations or these bylaws

and may recover the cost thereof from the owner by the ordinary process of law in terms of subsection (5).

(5) Where any work other than that for which a fixed charge has been determined, is undertaken by the Council, the costs of which

it is entitled in terms of these bylaws to recover from any person, there may be included in such costs such claim to be

determined by the Council as will cover all expenditure reasonably incurred by the Council.

**Maintenance**

**19.** Where any part of a drainage installation is used by two or more owners or occupiers, they are jointly and severally liable in terms of this

section for the maintenance and repair of such drainage installation.

**Drainage and Sewer Blockages**

**20.** (1) No person must cause or permit such an accumulation of grease, oil, fat, solid matter or any other substance in any trap, tank,

pipe, drain or fitting as will cause its blockage or ineffective operation.

(2) When the owner or occupier of a premises has reason to believe that a blockage has occurred in any drainage installation

thereon, then he must forthwith inform the Council of the facts and take steps to have it cleared.

(3) Where a blockage occurs in a drainage installation any work necessary for its removal shall, subject to the provisions of

subsection (5), be undertaken by or under the supervision of a plumber or registered person as required in the National

Building Regulations in regard to the control of plumbers and plumbing work.

(4) Any plumber or registered person as aforesaid must, before proceeding to remove any blockage from a drainage installation,

notify the Council by telephone or otherwise of his or her intention to do so, and must when he or she has done so, notify the

Council of that fact and of the nature, location and cause of the said blockage.

(7) The Council must, whether or not it has been requested by the owner to do so, be entitled, at its own discretion, to remove a

blockage from a drainage installation and may recover the costs thereof from the owner in accordance with Section 18(5).

(5) Should the clearing by the Council of any blockage in a drainage installation necessitate the removal or disturbance of any

paving, lawn or other artificial surfacing on any premises, the Council is not liable for the reinstatement thereof.

(8) Should any drainage installation on any premises overflow as a result of an obstruction in the connecting sewer, and the

Council is reasonably satisfied that such obstruction was caused by objects emanating from the drainage installation, the

owner of the premises served by the drainage installation is liable for the cost of clearing the blockage and the Council may

recover such cost from the owner. in accordance with Section 18(5).

(9) Where a blockage has been removed from a drain or portion of a drain which serves two or more pieces of land, the charges

for the clearing of such blockage is recoverable in the first place in equal portions form each of the owners thereof, who must

however, be jointly and severally liable for the whole charge.

**Interference with or Damage to Sewers and Water Care Works**

**21.** Any damage caused to the Council's sewer or any part of its sewerage or water care works by or in consequence of the non-compliance

with or contravention of any provision of the National Building Regulations or these by-laws must be rectified or repaired by the Council

at the expense, of the person responsible for the said non-compliance or contravention or of causing or permitting same.

**Entry onto Premises**

**22.** (1) An official authorized by the Council has the right to enter upon any premises at any reasonable time in order to take samples

of or test sewage or industrial effluent or to carry out any inspection or work in connection with a drainage installation which the

Council may deem necessary.

**PROVINCIAL GAZETTE / PROVINSIALE KOERANT, 09 DECEMBER 2011 / 09 DESEMBER 2011**

**57**

(2) Any owner or occupier of premises who denies or causes or instructs any other person to deny entry to premises to any official

demanding the same in terms of subsection (1), or who obstructs or causes or instructs any person to obstruct such official in

the performance of his or her duties, or who withholds or causes or instructs any other person to withhold information required

by the official for the purpose of carrying out his said duties, or who gives or causes or instructs any other person to give to the

official any information which is to his/her knowledge false, is guilty of an offence.

**Manholes on Municipal Property**

**23.** (1) Where, for any reason whatsoever, the provision of adequate means of access to the Council's connecting sewer is

impracticable on any private premises, the Council may at the expense of the owner, cause or permit a manhole to be

constructed over the Council's connecting sewer in such public place and in such position and of such materials and

dimensions as the Council may decide and, in addition, the owner must bear the cost, as assessed by the Council, of any

alteration to existing services in the public place which may, by reason of the construction of the manhole, be necessary.

(2) The owner of the private premises referred to in subsection (1) must, if so required by the Council, pay rental to the Council for

the space occupied by the manholes in the public place.

**Mechanical Food-Waste or other Disposal Units**

**24.** (1) No person must incorporate into a drainage installation a mechanical food waste or other disposal unit or garbage grinder

which has a power capacity in excess of 500W, unless a standard water meter, which the Council installs and seals at the cost

of the owner and to which the Council has the right of access at all times, has been connected into the supply pipe which

provides water to the unit.

(2) The Council may require the owner or occupier of any premises on which a food-waste or other disposal unit or a garbage

grinder has been installed, or the owner of such unit or grinder, either to remove, repair or replace any unit which, in the

opinion of the Council, is functioning inefficiently or which may impair the working of the Council's sewerage system.

(3) The owner must, upon the removal of any such unit or grinder, notify the Council in writing within 14 days of its removal.

(4) The charges as prescribed in the applicable tariff must be paid in respect of the discharge of a food-waste, other disposal unit

or a garbage grinder referred to in subsection (1).

**Sewage or other Pollutants not to enter Storm water drains**

**25.** (1) The owner or occupier of any piece of land on which steam or any liquid other than potable water is stored, processed or

generated, must provide all facilities necessary to prevent any discharge, leakage or escape of such liquid to any street, storm

water drain or watercourse except where, in the case of steam, the Council has specifically permitted such discharge.

(2) Where the hosing down or flushing by rainwater of an open area on any private premises is, in the opinion of the Council, likely

to cause the discharge of objectionable matter into any street gutter, storm water drain, river, stream or other watercourse,

whether natural or artificial, or to contribute towards the pollution of any such watercourse, the Council may instruct the owner

of the premises to execute, at his/her own cost, whatever measures by way of alterations to the drainage installation or roofing

of the area it may consider necessary to prevent or minimize such discharge or pollution.

**Storm water not to enter Sewers**

**26.** No person must discharge or cause or permit to be discharged any storm water or any substance other than sewage into a drainage

installation.

**Discharge from Swimming Pools**

**27.** Water from fountains, boreholes, wells, reservoirs or swimming pools situated on private premises is discharged into a drainage

installation only with the prior written consent of the Council and subject to such conditions as to place, time, rate of discharge and total

discharge as the Council may impose.

**Permission to Discharge Industrial Effluent**

**28.** (1) No person must discharge or cause or permit to be discharged into any sewer, any industrial effluent or other liquid or

substance other than soil-water or waste-water without the prior written permission of the Council or, if such permission has

been obtained, otherwise than in strict compliance with any and all of the conditions of such permission.

(2) Every person must, before discharging any industrial effluent or other liquid substance into a sewer, make application in writing

to the Council for permission to do so on the prescribed form, to be completed in duplicate, and must thereafter furnish such

additional information and submit such samples as the Council may require.

(3) The Council may, at its discretion, having regard to the capacity of any sewer or any mechanical appliance used for sewage or

any water care works, whether or not vested in the Council and subject to such conditions as it may deem fit to impose,

including the payment of any charge assessed in terms of the relevant tariff, grant permission for the discharge of industrial

effluent from any premises into any sewer.

(4) A person to whom permission has been granted in terms of subsection (3) to discharge industrial effluent into a sewer s must,

before doing or causing or permitting to be done anything which results in any change in the quantity or discharge or nature of

that effluent, notify the Council in writing of the date on which it is proposed that the change must take place and of the nature

of the proposed change.

**PROVINCIAL GAZETTE / PROVINSIALE KOERANT, 09 DECEMBER 2011 / 09 DESEMBER 2011**

**58**

(5) Any person who discharges or causes or permits to be discharged any industrial effluent into the sewer without having first

obtained permission to do so in terms of subsection (3) is guilty of an offence and be liable to such charge as the Council may

assess for the conveyance and treatment of the effluent so discharged and for any damage caused as a result of such

unauthorized discharge.

(6) Without prejudice to its rights in terms of subsection (5) or of Section 29(3)(c), the Council is entitled to recover from any person

who discharges into a drain or sewer any industrial effluent or any substance which is prohibited or restricted in terms of

Section 27 or which has been the subject of an order issued in terms of Section 27(2), the whole cost of expenses or charges

incurred or to be incurred by the Council or of losses suffered or to be suffered as a result of any or all of the following:

(a) Injury to persons, damage to the sewer or any water care works or mechanical appliance or to any property as the

result of the breakdown, either partial or completely of any sewer or water care works or mechanical appliance,

whether under the control of the Council or not; or

(b) A prosecution in terms of the National Water Act, 1998 (Act No. 36 of 1998), as amended, or any action against the

Council consequent on any partial or complete breakdown of any water care works or mechanical appliance caused

directly or indirectly by the said discharge, including fines and damages which may be imposed or awarded against

the Council.

(7) Due to any change in circumstances arising from a change in the sewage treatment process or the introduction of new or

revised or stricter or other standards by the Council or in terms of the National Water Act, 1998 (Act No. 36 of 1998), or as a

result of any amendment of these by-laws or due to any other reason, the Council may from time to time review, amend, modify

or revoke any permission given or any conditions attached to such permission and/or impose new conditions for the

acceptance of any industrial effluent into the sewer or prohibit the discharge of any or all such effluent into the sewer upon

giving adequate written notice in advance of its intention to do so, and, upon expiration of such period of notice the previous

permission or conditions, as the case may be, are regarded as having lapsed and the new or amended conditions, if any, as

the case may be, must forthwith apply.

**Control of Industrial Effluent**

**29.** (1) The owner or occupier of any premises from which industrial effluent is discharged into a sewer, must provide adequate

facilities such as overflow level detection devices, standby equipment, overflow catch-pits or other appropriate means

effectively to prevent the accidental discharge into any sewer, whether through the negligence of operators, power failure,

failure of equipment or control gear, overloading of facilities, spillage during loading or unloading or for any other similar

reason, of any substance prohibited or restricted or having properties outside the limits imposed in terms of these by-laws.

(2) The owner or occupier of any premises on which industrial effluent originated and who intends applying treatment to such

effluent before discharging it, must obtain prior written permission from the Council.

(3) The Council may, by notice served on the owner or occupier of any premises from which industrial effluent is discharged,

require him or her, subject to any other provision of the National Building Regulations or these by-laws, to do all or any of the

following:

(a) to subject the effluent before it is discharged into the sewer, to such pre-treatment as will ensure that it wi l l at all

times conform in all respects with the requirements of Section 27(1) or to modify the effluent cycle of the industrial

process to such an extent and in such a manner as in the opinion of the Council is necessary to enable any water

care works receiving the said effluent, whether under the control of the Council or not, to produce treated effluent

complying with any standards which may be laid down in respect of such works in terms of the National Water Act,

1998 (Act No. 36 of 1998);

(b) to restrict the discharge of effluents to certain specified hours and the rate of discharge to a specified maximum and to

install, at the expense of the owner or occupier such tanks, appliances and other equipment as in the opinion of the

Council may be necessary or adequate for compliance with the said restrictions;

(c) to install a separate drainage installation for the conveyance of industrial effluent and to discharge the same into the

sewer through a separate connection, as directed by the Council, and to refrain from discharging the said effluent

through any drainage installation intended or used for the conveyance of domestic sewage or from discharging any

domestic sewage through the said separate installation for industrial effluent;

(d) to construct at his or her own expense any drainage installation conveying industrial effluent to the sewer one or more

inspection, sampling or metering chambers of such dimensions and materials and in such positions as the Council

may prescribe;

(e) to pay, in respect of the industrial effluent discharged from the premises, such charge as may be calculated in terms

of the tariff: Provided that, where, due to the particular circumstances of any case, the actual chemical oxygen

demand (CODJ) or permanganate value (PV) and the concentration of metals in the effluent cannot be assessed by

means of the method of assessment prescribed by the SABS, the Council may use such alternative method of

assessment as it may deem expedient and the charge to be levied is assessed accordingly;

(f) to provide all such information as may be required by the Council to enable it to assess the charges payable in terms

of the tariff; and

(g) for the purposes of subsection (f) to provide and maintain at his or her own expense a meter or meters measuring the

total quantity of water drawn from any borehole, spring or other source of water, excluding that of the Council, used

on the property and discharged as industrial effluent into the sewer.

**PROVINCIAL GAZETTE / PROVINSIALE KOERANT, 09 DECEMBER 2011 / 09 DESEMBER 2011**

**59**

**Metering and Assessment of the Volume and Composition of Industrial Effluent**

**30.** (1) The Council may incorporate, in such position as it determines in any drainage installation conveying industrial effluent to a

sewer, any meter or gauge or other device for the purpose of ascertaining the volume or composition of the said effluent, and it

is an offence for any person to pass, open, break into or otherwise interfere with or do damage to any such meter, gauge or

other device: Provided that the Council may, at its discretion, enter into an agreement with any person discharging industrial

effluent into the sewer, determining an alternative method of assessing the quantity of effluent so discharged.

(2) The Council is entitled to install and maintain any such meter, gauge or device as aforesaid at the expense of the owner of the

premises on which it is installed.

(3) The owner of any premises on which is situated any borehole or well used for a water supply for trade or industrial purposes

must:

(a) register such borehole or well with the Council;

(b) provide the Council with full particulars of the discharge capacity of the borehole or well; and

(c) if the Council has reason to doubt the reliability of the particulars given, carry out, at the expense of the owner, such

tests on the discharge capacity of the borehole or well as may. in the opinion of the Council, be necessary for the

purpose of these by-laws.

**Prohibited Discharges**

**31.** (1) No person must discharge or cause or permit the discharge or entry into any sewer of any sewage, industrial effluent or other

liquid or substance which:

(a) in the opinion of the Council, may be offensive to or may cause a nuisance to the public;

(b) is in the form of steam or vapour or has a temperature exceeding 44°C at the point where it enters the sewer;

(c) has a pH value less than 6.0 or greater than 10,0;

(d) contains any substance of whatsoever nature likely to produce or emit explosive, flammable, poisonous or offensive

gasses or vapours in any sewer;

(c) contains any substance having a flashpoint of less than 90°C or which emits a poisonous vapour at a temperature

below 93°C;

(f) contains any material of whatsoever nature, including, oil, grease, fat or detergents capable of causing interference

with the proper operation of water care works;

(g) shows any visible signs of tar or associated products or distillates, bitumens or asphalts;

(h) contains any substance in such concentration as is likely in the final treated effluent from any water care works to

produce an undesirable taste after chlorination or an undesirable odour or colour, or excessive foam;

(i) exceeds any of the limits or concentrations of substances specified in the Annexure: Provided that the Council may

approve such greater limits or concentrations for such period or on such conditions as it may specify on

consideration of the effect of dilution in the sewer and of the effect of such substance on the sewer or any sewage

treatment process if the Council is satisfied that, in the circumstances, the discharge of such substance will not:

damage any sewer, mechanical appliance, water care works or

equipment; or

(ii) prejudice the use of sewage effluent for re-use; or

(iii) adversely affect any waters into which purified sewage effluent is discharged, or any land or crops irrigated

with the sewage effluent;

(j) contains any substance of whatsoever nature which, in the opinion of the Council:

(i) is not amenable to treatment at the water care works, or which causes or may cause a breakdown or

inhibition of the normal sewage treatment processes; or

(ii) is of such nature as is or may be amenable to treatment only to such degree as to prevent the final treated

affluent from the water care works from satisfactorily complying in all respects with any requirement

imposed in terms of the National Water Act, 1998 (Act No. 36 of 1998); or

(iii) whether listed in the Annexure or not, either alone or in combination with other matter may:

(aa) generate or constitute a toxic substance detrimental to the health of persons employed at the

water care works or entering the Council's sewers or manholes in the course of their duties; or

(bb) be harmful to sewers, water care works or land used for the disposal of purified sewage effluent;

or

(cc) adversely affect any of the processes whereby sewage is purified or any re-use of purified

sewage effluent.

(2) (a) Any person receiving from an official duly authorized thereto by the Council a written order instructing him to stop

the discharge into the sewer of any substance referred to in subsection (1), must forthwith stop such discharge.

(b) Any person who contravenes the provisions of subsection (1) or who fails to comply with an order issued in terms of

subsection (2)(a), is guilty of an offence.

**PROVINCIAL GAZETTE / PROVINSIALE KOERANT, 09 DECEMBER 2011 / 09 DESEMBER 2011**

**60**

(c) Notwithstanding the provisions of subsection (2)(b). should any person have failed to comply with the terms of an

order served on him or her in terms of subsection (2)(a) and such discharge is likely, in the opinion of the Council, to

cause damages to any sewer or mechanical or other appliance or to seriously prejudice the efficient operation of any

water care works, the Council may, after further written notice, refuse to permit the discharge of any industrial effluent

into the sewer until such time as the industrial effluent complies in all respects with the Council's requirements as

prescribed in terms of these by-laws, in which event the person responsible for the discharge must forthwith stop it, or

if he or she fails to do so, the Council may prevent him from proceeding with the discharge.

**Connection from mains**

**32.** (1) All communication pipes which are intended for preventive or automatic use in case of fire must be laid by the Council as far as

the boundary of the consumer's property.

(2) Such communication pipes must be used only for fire extinguishing purposes.

(3) No take-off of any kind is made, other than those in connection with automatic sprinklers and drenchers, hydrant connections

or necessary for a pressure tank upon the top of a building, which tank must controlled by a suitable ball tap.

**Valves in Communication Pipes**

**33.** Every communication pipe must be fitted with a proper stop valve, which said valve must be -

(a) supplied by the Council at the expense of the consumer;

(b) installed between the consumer's property and the main;

(c) of the same diameter as the communication pipe;

(d) in such position as must be determined by the Council.

**Additions to System**

**34.** No further sprinkler must be added or connected without the prior written consent of the Council to any existing fire extinguishing system

after such system has been connected to the mains.

**Extension of System to other premises**

**35.** No extension or connection from any fire extinguishing system to other premises must be made. In the event of any such connection or

extension being made, the Council is entitled to enter upon any premises and to take all steps necessary to disconnect such connection

or extension at the cost of the persons responsible for such extension or connection.

**Inspection and approval of Fire Extinguishing Service**

**36.** No supply of water must be made or given until the fire extinguishing system has been inspected and the Council has certified in writing

that such service is in accordance with these by-laws and the work has been carried out to the Council's satisfaction

**Connection to be at pleasure of the Council**

**37.** Connection to the mains is at the pleasure of the Council, which is entitled to disconnect any fire extinguishing services at any time.

**Installation of Reflux Valve**

**38.** In all private installations where a fire pump connection is installed, a reflux valve to close off the supply from the Council's mains when

the fire pump connection is being used must be installed between the boundary of the property and the fire pump connection.

**Sprinkler system**

**39.** (1) A sprinkler system may be installed in direct communication with the main, but the Council must not be deemed to guarantee

any specified pressure of water at any time.

(2) When an automatic sprinkler system has been installed and completed, the owner must advise the Council in writing within 14

days of the date of completion of the installation of such sprinkler system.

**Header tank or duplicate supply from mains**

**40.** In the event of a header tank being installed above ground level, it must be provided with an overflow pipe, which must discharge in

such a position as to be readily observable, and must not be led away by any down-pipe to any drain.

**Notices**

**41.** (1) Every notice, order or other document issued or served by the Council in terms of these by-laws is valid if signed by the

Municipal Manager or an official of the Council duly authorized thereto by the said Municipal Manager.

(2) If a notice is to be served on a person in terms of these by-laws, such service is effected by:

(a) delivering the notice to him or her personally or to his or her duly authorized agent;

**PROVINCIAL GAZETTE / PROVINSIALE KOERANT, 09 DECEMBER 2011 / 09 DESEMBER 2011**

**61**

(b) delivering the notice at his or her residence or place of employment to a person apparently not less than sixteen

years of age and apparently residing or employed there;

(c) If he or she has nominated an address for legal purposes, by delivering the notice to such an address;

(d) registered or certified post addressed to his or her last known address.

(e) in the case of a body corporate, by delivering it to the registered office or the business premises of such a body

corporate; or

(3) If service cannot be effected in terms of sub-section (2) by affixing it to the principal door of entry to the premises, or displaying

it on a conspicuous place on the land to which it relates.

(4) Any notice, order or other document served in terms of these by-laws on any person must be so served by delivering it, or a

true copy thereof, to the person to whom it is addressed personally or at his or her last known residence or place of

business or by posting it to him or her by registered post.

(5) In every notice, order or other document issued or served in terms of these by-laws, the premises to which it relates must be

specified but the person for whom it is intended may be referred to a**s** "the owner" or "the occupier" if his or her name is not

known.

**Penalty Clause**

**42.** Any person who contravenes or fails to comply with any provision of these bylaws is guilty of an offence and liable upon conviction to-

(a) a fine or imprisonment for a period not exceeding six months or either such fine or such imprisonment or both such fine and

such imprisonment;

(b) in the case of a continuing offence, an additional fine or an additional period of imprisonment of 10 days or either such

additional fine or such additional imprisonment or both such additional fine and imprisonment for each day on which such

offence is continued, and

(c) a further amount equal to any costs and expenses found by the court to have been incurred by the municipality as a result of

such contravention or failure.

**Repeal of By-Laws**

**43.** Any by-laws relating to building regulations adopted by the Municipality or any municipality now comprising an administrative unit of the

Municipality is repealed from the date of promulgation of these by-laws.

**Short Title**

**44.** This by-law is called Building Regulations and Building Standard Standard By-law,

2011.

**PROVINCIAL GAZETTE / PROVINSIALE KOERANT, 09 DECEMBER 2011 / 09 DESEMBER 2011**

**62**

**ANNEXURE**

**LIMITS OF CONCENTRATION OF CERTAIN SUBSTANCES**

Subject to the provisions of Section 29(1) of these by-laws:

(1) The l imi ts of the PV, pH and electrical conductivity of sewage are as follows:

(a) PH-within the rage 6,0-10,0;

(b) Electrical conductivity not greater than 300m/Sm at 20°C.

(2) The maximum permissible concentrations of pollution expressed in milligrams per liter [mg/1] are as follows:

(a) GENERAL:

(i) PV-not to exceed: 1 400mg/l;

(ii) Caustic alkalinity (expresses as CaCO2): 2 000 mg/1;

(iii) Substances in suspension (including fat, oil, grease, waxes and like substance); 2 000mg/l;

(iv) Substances soluble in petroleum ether. 500mg/l;

(v) Sulphides, hydro-sulphides and polysulphides (expressed as S): 50mg/l;

(vi) Substances from which hydrogen cyanide can be liberated in the drainage installation, sewer or water care works

(expressed as HCN): 20mg/l;

(vii) Formaldehyde (expressed as HCHO): 50mg/l;

(viii) Phenolic compounds: 1.0mg/l;

(ix) Non-organic solids in suspension: 100mg/l;

(x) Chemical oxygen demand (COD): 5 000mg/l;

(xi) All sugars and/or starches (expressed as glucose): 1 500mg/l;

(xii) Available chlorine (expressed as CI): 100mg/l;

(xii i) Sulphates and sulphites (expressed as S04): 1 800mg/l;

(xiv) Fluorine-containing compounds (expressed as F): 5mg/l;

(xv Anionic surface activators: 500mg/l;

(xvi) Orthophosphate (expressed as P): 10mg/l.

(b) METALS

(i) Group 1:

(aa) Chromium (expressed as Cr);

(bb) Copper (expressed as Cu);

(cc) Nickel (expressed as Ni);

(dd) Zinc (expressed as Zn);

(ee) Silver (expressed as Ag);

(ff) Cobalt (expressed as Co);

(gg) Cadmium (expressed as Cd);

(hh) Manganese (expressed as Mn),

The total collective concentration of all metals in Group 1 (expressed as indicated above) in any sample of the

effluent, must not exceed 20mg/l, nor must the concentration of any individual metal in any sample exceed 5mg/l.

(ii) Group 2:

(aa) Lead (expressed as Pb);

(bb) Selenium (expressed as Se);

(cc) Mercury (expresses as Hg).

The total collective concentration of all metals in Group 2 (expressed as indicated above), in any sample of the

effluent must not exceed 50mg/l, nor must the concentration of any individual metal in any sample exceed 20mg/l.

(iii) Group 3:

(aa) Arsenic (expressed as As);

(bb) Boron (expresses as B).

The total collective concentration of the metals in Group 3 (expressed as indicated above) in any sample of the

effluent must not exceed 20mg/l.

RADIO-ACTIVE WASTE:

Radio-active waste or isotopes: such concentration as may be laid down by the Atomic Energy Corporation or any State

Department: Provided that, notwithstanding the requirements set out above in this Annexure, the Council reserves the right to

limit the total mass of any substance or impurity discharges per 24 hours into the sewers from any premises: Provided further

that the method of testing in order to ascertain the concentration of any substance mentioned above is the test normally used

by the Council for this purpose. Any person discharging into a sewer any substance referred to in the Annexure, may ascertain

the details of the appropriate test from the Council.